## Wyman Way
Village Green |  |  |  |  | ~Wyman Way Controller~ |  | Controller 2 |  |  |  | 49 Watering Zones / 52 Total
Zones | Location | Rotors | MP's | GPM | Prog A | Prog B | Prog C | Prog D | Prog E | Prog F
1 | 89 Wyman Way - (front, rear, side) | 4 | 22 | 26.7 | 10 | 10 |  |  |  |  | * Prog A | 17 zones
2 | Wyman Way - Esplande near stop sign |  | 46 | 21.62 | 10 | 10 |  |  |  |  | Total Run Times = 2hrs 50mins
3 | 88 Wyman Way - (front, rear, side) | 12 |  | 24 | 10 | 10 |  |  |  |  | Start @ 11:30pm
4 | 86 Wyman Way - (front, rear, side) | 12 | 17 | 38.45 | 10 | 10 |  |  |  |  | Watering Cycle: Odd Evenings |  | .47gpm | SS Rotator
5 | 84 Wyman Way - (front, rear, side) | 3 | 14 | 17.9 | 10 | 10 |  |  |  |  | Zones: 1-16, 97 & 98 |  | .85gpm | MP Rotator
6 | Stub @ 82 & 84 Wyman Way | [9 empty] | *No Wednesday Watering |  | 2.0gpm | I-20
7 | Left Esplanade |  | 15 | 12.75 | 10 | 10
8 | 87 Wyman Way | 8 | 15 | 28.75 | 10 | 10 |  |  |  |  | * Prog B | 17 zones | 55-127gpm | 2"PVC Flow
9 | 81 Wyman Way - (front, rear) | 9 |  | 18 | 10 | 10 |  |  |  |  | Total Run Times = 2hrs 50mins
10 | 79 & 81 Wyman Way - (front, side) | 15 | 7 | 35.95 | 10 | 10 |  |  |  |  | Start @ 2:30am
11 | 80 & 82 Wyman Way - Duplex | 10 | 12 | 30.2 | 10 | 10 |  |  |  |  | Watering Cycle: Even Mornings
12 | 78 Wyman Way | 6 | 15 | 24.75 | 10 | 10 |  |  |  |  | Zones: 1-16, 97 & 98 |  | NOTES:
13 | Wyman Way - Esplanade Upper |  | 42 | 19.74 | 10 | 10 |  |  |  |  | *Includes Wednesday Watering |  | * Controller Settings as of 8/31/20 - RM
14 | 77 Wyman Way - (front, rear) | 5 | 5 | 14.25 | 10 | 10 | [6 empty] | * Controller Settings as of 8/3/20 - RM
15 | 77 Wyman Way - (front, R. side) |  | 9 | 7.65 | 10 | 10 |  |  |  |  | * Prog C | 16 zones | * Controller settings as of 7/29/20 - RM
16 | 71 Wyman Way - (front, rear, side) | 17 | 2 | 35.7 | 10 | 10 |  |  |  |  | Total Run Times = 2hrs 40mins |  | * Controller Settings as of 7/2/20 - RM
17 | 76 Wyman Way | 12 | 8 | 30.8 |  |  | 10 | 10 |  |  | Start @ 11:30pm |  | * Controller Settings as of 6/25/20 - RM
18 | 74 Wyman Way | 14 | 2 | 29.7 |  |  | 10 | 10 |  |  | Watering Cycle: Odd Evenings |  | * Controller Settings as of 6/7/22 - JB
19 | 72 Wyman Way | 9 | 4 | 21.4 |  |  | 10 | 10 |  |  | Zones: 17-30, 32 & 34 |  | * Controller Settings as of 6/15/22 - RM
20 | 70 Wyman Way - (front, rear, side) | 12 |  | 24 |  |  | 10 | 10 |  |  | *Includes Wednesday Watering |  | Run Times are Per Cycle
21 | 68 Wyman Way - (front, rear, side) | 17 | 4 | 37.4 |  |  | 10 | 10
22 | 67 Wyman Way - (front, rear, side) | 16 | 1 | 32.85 |  |  | 10 | 10 |  |  | * Prog D | 16 zones | *Changes were made to Prog F for 3 Tacoma Way Only due to timing issue (7/29)*
23 | Wyman Way - Esplanade, middle @ Unit #71 |  | 19 | 8.93 |  |  | 10 | 10 |  |  | Total Run Times = 2hrs 40mins |  | *Changes made to zone 95 due to stress of lawn. Nozzles were changed at house/curbside. RM
24 | 66 Wyman Way - (front, rear, side) | 10 | 6 | 25.1 |  |  | 10 | 10 |  |  | Start @ 2:30am
25 | 64 Wyman Way | 20 |  | 40 |  |  | 10 | 10 |  |  | Watering Cycle: Even Mornings |  | *Please note: Common areas on Brackett Way will encompass zones 93 & 94
26 | 60 Wyman Way - (front, rear, side) | 20 | 1 | 40.85 |  |  | 10 | 10 |  |  | Zones: 17-30, 32 & 34
27 | 2 Bradbury Way | 14 | 8 | 34.8 |  |  | 10 | 10 |  |  | *Includes Wednesday Watering
28 | Bradbury Way - Esplanade Left Side Rd. |  | 13 | 6.11 |  |  | 10 | 10
29 | 2 Tacoma - Guard Rail | 18 | 25 | 43.25 |  |  | 10 | 10 |  |  | * Prog E | 16 zones
30 | 4 Tacoma | 10 | 11 | 29.35 |  |  | 10 | 10 |  |  | Total Run Times = 2hrs 38mins |  |  | A | C
31 | 3 Tacoma | 19 | 9 | 45.65 |  |  |  |  | 10 | 10 | Start @ 11:30pm |  |  | 1 | 17
32 | Peak Ln & Bradbury | 2 | 8 | 10.8 |  |  | 10 | 10 |  |  | Watering Cycle: Even Evenings |  | Prog A/C Usage | 2 | 18
33 | Stub | [9 empty] | Zone: 31, 35-42 & 90-96 |  | 57.5 | 3 | 19
34 | 26 Bradbury Way - Left/Rear/Right | 17 |  | 34 |  |  | 10 | 10 |  |  | *Includes Wednesday Watering |  | 51.32 | 4 | 20
35 | 28 & 32 Bradbury Way - Front Roadside | 4 | 1 | 8.85 |  |  |  |  | 10 | 10 |  |  | 45.4 | 5 | 21
36 | 28 Bradbury Way - Left/Rear/Right | 7 | 10 | 22.5 |  |  |  |  | 10 | 10 | * Prog F | 16 zones | 62.45 | 7 | 22
37 | 32 Bradbury | 8 | 6 | 21.1 |  |  |  |  | 10 | 10 | Total Run Times = 2hrs 38mins |  | 55 | 8 | 23
38 | 32 Bradbury (right) & 31 Bradbury (left front) | 6 | 9 | 19.65 |  |  |  |  | 10 | 10 | Start @ 2:30am |  | 55.3 | 9 | 24
39 | 31 Bradbury Way | 11 | 2 | 23.7 |  |  |  |  | 10 | 10 | Watering Cycle: Odd Mornings |  | 45.6 | 10 | 25
40 | 21 Bradbury Way | 11 | 10 | 30.5 |  |  |  |  | 10 | 10 | Zone: 31, 35-42 & 90-96 |  | 37.68 | 11 | 26
41 | 15 Bradbury Way | 12 | 9 | 31.65 |  |  |  |  | 10 | 10 | *Includes Wednesday Watering |  | 43.1 | 12 | 27
42 | 7 Bradbury Way | 8 | 14 | 27.9 |  |  |  |  | 10 | 10 |  |  | 71.05 | 13 | 28
58 | 87 Wyman Way Esplanade | [7 empty] | N/A | N/A | * NODE 200 [Drip Irrigation] |  | 59.55 | 14 | 29
90 | New - 9 Brackett [marden] | 16 | 2 | 33.7 |  |  |  |  | 10 | 10 | Kitteridge Residence - 11 Brackett |  | 25.85 | 15 | 30
91 | New - 9/11 Brackett [middle] | 13 | 1 | 26.85 |  |  |  |  | 10 | 10 | 2 zones @ 10 min each |  | 57.5 | 16 | 35
92 | New - 11 Brackett [witt] | 15 | 1 | 30.85 |  |  |  |  | 10 | 10 | Start @ 12:00pm |  | 37 | 97 | 34
93 | Common Area Top - Brackett Left Side | 16 |  | 32 |  |  |  |  | 10 | 10 | Watering Cycle: Odd Day |  | 46.5 | 98
94 | Common Area Bottom - Brackett Left Side | 6 | 4 | 15.4 |  |  |  |  | 10 | 10 |  |  | 82
95 | Lowery - 5 Brackett | 15 | 2 | 31.7 |  |  |  |  | 10 | 10 |  |  | 46.8
96 | Arnold K - Drip |  |  | Drip |  |  |  |  | 8 | 8
97 | Schrader - 10 Brackett | 24 |  | 48 | 10 | 10
98 | Kitteridge - 12 Brackett | 20 | 8 | 46.8 | 10 | 10
| TOTAL HEAD COUNT: | 503 | 419

## Drowne Rd
Village Green |  |  |  |  | ~Drowne Rd. Controller~ |  | Controller 1 | 42 Watering Zones / 43 Total
Zones | Location | Rotors | MP's | GPM | Prog. A | Prog. B | Prog. C
1 | 63 Drowne Rd. (rear) | 9 |  | 18 | 10 |  |  | * Prog A | 14 zones
2 | 63 Drowne Rd. | 12 | 1 | 24.85 | 10 |  |  | Total Run Times = 2hrs 20mins |  | .47gpm | SS Rotator
4 | 61 Drowne Rd. (left side) | 7 |  | 14 | 10 |  |  | Start @ 12am and 3:00am |  | .85gpm | MP Rotator
5 | 61 Drowne Rd. (right side) | 6 |  | 12 | 10 |  |  | Watering Cycle: Odd Days |  | 2.0gpm | I-20
6 | 61 Drowne Rd. (front) / 63 Left side front | 9 |  | 18 | 10 |  |  | Zones: 1-15
7 | 59 Drowne Rd. (L. Front & Side) | 13 | 1 | 26.85 | 10 |  |  | *Includes Wednesday Watering |  | 55-127gpm |  | 2"PVC Flow
8 | 57 & 55 [left side] Drowne Rd. | 11 |  | 22 | 10
9 | 55 [right side] Drowne Rd. | 6 | 4 | 15.4 | 10 |  |  | * Prog B | 14 zones
10 | 53 Drowne Rd. Left Side | 6 | 1 | 12.85 | 10 |  |  | Total Run Times = 2hrs 20mins
11 | 53 Drowne Rd. Right Side | 1 | 9 | 9.65 | 10 |  |  | Start @ 12am and 3:00am
12 | 51 Drowne Rd. (left side) | 4 | 5 | 12.25 | 10 |  |  | Watering Cycle: Even Days
13 | 51 Drowne Rd. (right side) | 2 | 6 | 9.1 | 10 |  |  | Zones: 17-31
14 | 49 Drowne Rd. (front) |  | 4 | 3.4 | 10 |  |  | *Includes Wednesday Watering
15 | 49 Drowne Rd. (rear / side) | 6 |  | 12 | 10
17 | Drowne Rd. esplanade across from salt shed |  | 42 | 19.74 |  | 10 |  | * Prog C | 14 zones
18 | Drowne Rd. along sidewalk across from salt shed | 5 | 4 | 13.4 |  | 10 |  | Total Run Times = 2hrs 20mins |  |  | Prog A/C Usage | A | C
19 | 46 Drowne Rd. (left side) | 10 |  | 20 |  | 10 |  | Start @ 12am and 3:00am |  |  | 46.8 | 1 | 33
20 | 46 Drowne Rd. (right side) | 5 | 3 | 12.55 |  | 10 |  | Watering Cycle: Odd Days |  |  | 44.85 | 2 | 34
21 | 48 Drowne Rd. | 8 | 9 | 23.65 |  | 10 |  | Zones: 33-49 |  |  | 36 | 4 | 35
22 | 50 Drowne Rd. | 19 | 2 | 39.7 |  | 10 |  | *Includes Wednesday Watering |  |  | 26.1 | 5 | 37
23 | 52 Drowne Rd. (left side) | 7 |  | 14 |  | 10 |  |  |  |  | 47.4 | 6 | 38
24 | 52 Drowne Rd. (right side) | 7 | 2 | 15.7 |  | 10 |  | * Controller Settings as of 7/2/20 - RM |  |  | 54.85 | 7 | 40
25 | 50 52 54 Drowne Rd. esplanade near |  | 28 | 13.16 |  | 10 |  | * Controller Settings as of 6/25/20 - RM |  |  | 53.95 | 8 | 41
26 | 54 Drowne Rd. (left side) | 10 | 8 | 26.8 |  | 10 |  | * Controller Settings as of 6/7/22 - JB |  |  | 39.65 | 9 | 42
| 54 Drowne Rd. (right side) Twinned with 26 | [6 empty] | * Controller Settings as of 6/15/22 - RM |  |  | 36.85 | 10 | 43
28 | 4 Baxter Ln. | 14 | 3 | 30.55 |  | 10 |  | Run Times are Per Cycle |  |  | 29.65 | 11 | 44
29 | 6 Baxter Ln. | 12 | 3 | 26.55 |  | 10 |  |  |  |  | 48.9 | 12 | 45
30 | Baxter Ln. - Pool End | 3 |  | 9 |  | 10 |  | Changes made for 20min per zone from 17min per zone per RM on 7/1 |  |  | 31.85 | 13 | 47
31 | 7 Baxter Ln. | 13 | 6 | 31.1 |  | 10 |  | 12min per zone for esplandes |  |  | 26.15 | 14 | 48
33 | Baxter Ln. #5 | 11 | 8 | 28.8 |  |  | 10 |  |  |  | 32.85 | 15 | 49
34 | 56 Reid Ln. (right side) | 10 |  | 20 |  |  | 10
35 | 56 Reid Ln. (left side) | 11 |  | 22 |  |  | 10
36 Reid Ln. - stubbed off
37 | Drowne Rd. - esplanade near controller |  | 30 | 14.1 |  |  | 10 | *Schedule has not changed as of 8/3/20 -RM
38 | 4 Reid Ln. | 13 | 4 | 29.4 |  |  | 10
40 | 6 Reid Ln. | 14 |  | 28 |  |  | 10
41 | 10 Reid Ln. | 13 | 7 | 31.95 |  |  | 10
42 | 11 Reid Ln. | 10 | 5 | 24.25 |  |  | 10
43 | 7 Reid Ln. | 12 |  | 24 |  |  | 10
44 | 3 & 7 Reid Ln. | 10 |  | 20 |  |  | 10
45 | 3 Reid Ln. (corner, right side) | 9 |  | 18 |  |  | 10
47 | Esplanade & Roadside by water POC | 6 | 29 | 36.65 |  |  | 10
48 | Wyman Way - Roadside | 5 | 15 | 22.75 |  |  | 10
49 | Wyman Way - Roadside | 10 | 1 | 20.85 |  |  | 10
| TOTAL HEAD COUNT: | 339 | 240